| Photometric Test Report |  |  |
| --- | --- | --- |
| Report Number: POTS/GJ13028 | Report Date: 30-01-2013 | Prepared By: G John |
| Test Laboratory: Photometric and Optical Testing Services, Cotswold Business Centre, 42 A P Ellis Road, Rissington Business Park, Upper Rissington, Gloucestershire, GL54 2QB |  |  |
| Company Registration Number: Registered in England & Wales No. OC352911 |  |  |
| Registered Address: Thistle Down Barn, Holcot Lane, Sywell, Northampton, NN6 0BG |  |  |

| Client Details |  |
| --- | --- |
| Company: Astro Lighting | Email: technical@astrolighting.co.uk |
| Address: Astro Lighting Limited, G2 River Way, Harlow CM20 2DP, Great Britain |  |

| Details of Product Tested |  |
| --- | --- |
| Manufacturer: Astro Lighting | Source Type: Domestic light |
| Model: KASHIMA | Serial Number: 0814 |
| Lamp Type: T5 |  |
| Power Supply Used: Uninterruptible AC power supply |  |
| Voltage(AC V) = 244.1 | Current (mA)= 73 |
| Power (Watts)= 9.10 | Power factor= 0.510 |

| Integrating Sphere Test |  |  |
| --- | --- | --- |
| Date of Test: 20-12-2012 |  | Ambient Temperature:25°C |
| Measurement Filename: 0814 KASHIMA |  |  |
| Instrument Used: Labsphere model CSLMS LED 4060 integrating sphere spectroradiometer |  |  |
| Integrating Sphere Size: 1m |  | Measurement Geometry (2 / 4): 4 |
| Sample Orientation: Horizontal |  | Auxiliary Correction Applied: YES |
| Comments: |  |  |
| Date of Last Calibration (Operating Hours): 08-11-2012 (02:36) |  | Spectral Flux Standard Lamp Used: SCL-1400 |
| Standard Lamp Serial Number: K75 |  | Traceable: to NIST standards |
| Calibration Certificate Number: DM-02008-001 |  | Calibration Certificate Date: 19th February 2010 |
| Calibration Lamp Uncertainty: ± 0.67% (k=2) |  |  |
| Results |  |  |
| Flux (lumens): 228.1 |  | Bare Lamp flux (lumens): 527 |
| CIE 1931 Chromaticity Cx: 0.47108 |  | CIE 1931 Chromaticity Cy: 0.4305 |
| CRI (%):82.45 |  | CCT (K): 2708 |
| LOR(%)=43.3 |  |  |

Figure 1: Spectral Irradiance

Figure 2: CIE 1931 diagram.

| Goniophotometer Test |  |  |  |
| --- | --- | --- | --- |
| Date of Test: 20-12-2012 |  | Ambient Temperature: 25°C |  |
| Measurement Filename: 0814 KASHIMA |  |  |  |
| Instrument Used: Radiant Imaging NFMS0800 Goniometer with ProMetric PM-1423F-1 Imaging Photometer |  |  |  |
| Photometer Working Distance: 2.0 M |  | Measurement Geometry: Near-Field |  |
| Comments: |  |  |  |
| Reference Photometer Used: Specbos1201 |  | Reference Photometer Serial Number: 2911670 |  |
| Traceable: to NPL standards, UKAS Accredited |  | Calibration Certificate Number: 121104 |  |
| Calibration Certificate Date: 25th October 2011 |  | Sample Stabilisation Time (minutes):19 |  |
| Reference Photometer Calibration Uncertainty: ± 2.4% (k=2, 20-200 lux, CIE illuminant A source) |  |  |  |
| Scan Set Up |  |  |  |
| Direction | Range |  | Increment |
| Inclination Zone 1 | 0-180° |  | 3° |
| Azimuth | 0-360° |  | 10° |
| Results |  |  |  |
| Integrated Luminous Flux (lumens):228.1 | Peak Intensity (3° Spot, candelas): 116.9 |  | Efficacy (lumens/Watt): 54.1 |
| Beam Angle (50% of max intensity C0-180, degrees): 17.1 |  |  |  |
| Photometric Filename (IES LM-63-2002): 0814 KASHIMA |  |  |  |
| IES File – Absolute or Relative Format? Relative |  |  |  |
| Photometric Filename (EULUMDAT): 0814 KASHIMA |  |  |  |
| EULUMDAT File – Absolute or Relative Format? Relative |  |  |  |

Figure 3: Far-Field Luminous Intensity (C0-180, Cartesian Coordinates)

Figure 4: Far-Field Luminous Intensity (C0-180, C90-270, Polar Coordinates)

Figure 4. Illuminance cone diagram.

Table 1. UGR values

|  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 |
| 3 | 0.2 | 0.3 | 0.4 | 0.5 | 0.6 | 0.7 | 0.8 | 0.8 | 0.9 | 0.9 | 0.9 | 0.8 | 0.8 | 0.7 | 0.6 | 0.5 | 0.4 | 0.3 | 0.3 |
| 6 | 0.2 | 0.3 | 0.4 | 0.7 | 1.0 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.0 | 0.9 | 0.7 | 0.5 | 0.4 | 0.3 |
| 9 | 0.3 | 0.3 | 0.6 | 1.0 | 1.2 | 1.1 | 1.0 | 1.0 | 0.9 | 0.8 | 0.9 | 0.8 | 0.9 | 1.1 | 1.1 | 1.0 | 0.8 | 0.5 | 0.3 |
| 12 | 0.3 | 0.6 | 1.0 | 1.1 | 1.0 | 0.8 | 0.7 | 0.6 | 0.5 | 0.5 | 0.6 | 0.6 | 0.6 | 0.8 | 1.1 | 1.0 | 0.8 | 0.5 | 0.3 |
| 15 | 0.5 | 0.6 | 1.0 | 1.0 | 0.8 | 0.5 | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.5 | 0.5 | 0.5 | 0.7 | 0.7 | 0.7 | 0.5 | 0.2 |
| 18 | 0.4 | 0.5 | 1.0 | 0.8 | 0.5 | 0.3 | 0.4 | 0.3 | 0.4 | 0.4 | 0.4 | 0.4 | 0.3 | 0.4 | 0.5 | 0.6 | 0.5 | 0.4 | 0.2 |
| 21 | 0.4 | 0.7 | 0.8 | 0.4 | 0.3 | 0.3 | 0.3 | 0.3 | 0.4 | 0.3 | 0.3 | 0.4 | 0.3 | 0.3 | 0.4 | 0.4 | 0.5 | 0.4 | 0.3 |
| 24 | 0.3 | 0.6 | 0.5 | 0.4 | 0.3 | 0.3 | 0.3 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 | 0.4 | 0.3 | 0.4 | 0.3 |
| 27 | 0.3 | 0.4 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.4 | 0.5 | 0.5 | 0.4 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.2 |
| 30 | 0.2 | 0.4 | 0.3 | 0.3 | 0.3 | 0.3 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.3 | 0.2 | 0.3 | 0.3 | 0.2 | 0.3 |
| 33 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 | 0.3 | 0.4 | 0.4 | 0.5 | 0.4 | 0.5 | 0.3 | 0.2 | 0.3 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 |
| 36 | 0.2 | 0.3 | 0.3 | 0.3 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.2 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 |
| 39 | 0.2 | 0.2 | 0.3 | 0.4 | 0.4 | 0.4 | 0.5 | 0.4 | 0.4 | 0.5 | 0.4 | 0.4 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 |
| 42 | 0.2 | 0.2 | 0.4 | 0.4 | 0.3 | 0.4 | 0.5 | 0.5 | 0.4 | 0.5 | 0.4 | 0.3 | 0.3 | 0.2 | 0.3 | 0.3 | 0.2 | 0.2 | 0.3 |
| 45 | 0.3 | 0.2 | 0.4 | 0.4 | 0.4 | 0.5 | 0.5 | 0.3 | 0.4 | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.2 | 0.3 | 0.3 |
| 48 | 0.3 | 0.2 | 0.3 | 0.4 | 0.5 | 0.5 | 0.4 | 0.4 | 0.5 | 0.4 | 0.4 | 0.3 | 0.4 | 0.3 | 0.3 | 0.3 | 0.2 | 0.2 | 0.3 |
| 51 | 0.2 | 0.3 | 0.3 | 0.3 | 0.4 | 0.5 | 0.5 | 0.4 | 0.5 | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 | 0.3 | 0.2 | 0.3 | 0.3 | 0.3 |
| 54 | 0.3 | 0.2 | 0.3 | 0.4 | 0.5 | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 | 0.3 | 0.2 | 0.2 | 0.3 | 0.4 |
| 57 | 0.2 | 0.3 | 0.3 | 0.4 | 0.4 | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.3 | 0.2 | 0.2 | 0.4 | 0.4 |
| 60 | 0.3 | 0.2 | 0.3 | 0.3 | 0.4 | 0.5 | 0.4 | 0.3 | 0.3 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.3 | 0.2 | 0.3 | 0.2 | 0.4 |
| 63 | 0.2 | 0.2 | 0.3 | 0.3 | 0.4 | 0.4 | 0.4 | 0.3 | 0.3 | 0.4 | 0.3 | 0.4 | 0.4 | 0.4 | 0.3 | 0.3 | 0.2 | 0.2 | 0.4 |
| 66 | 0.3 | 0.3 | 0.3 | 0.4 | 0.4 | 0.4 | 0.4 | 0.3 | 0.4 | 0.4 | 0.3 | 0.4 | 0.4 | 0.3 | 0.2 | 0.3 | 0.2 | 0.3 | 0.3 |
| 69 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 | 0.3 | 0.4 | 0.4 | 0.4 | 0.5 | 0.3 | 0.3 | 0.4 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.4 |
| 72 | 0.2 | 0.2 | 0.2 | 0.4 | 0.3 | 0.3 | 0.5 | 0.5 | 0.4 | 0.4 | 0.3 | 0.4 | 0.3 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.3 |
| 75 | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 | 0.4 | 0.4 | 0.3 | 0.4 | 0.4 | 0.4 | 0.5 | 0.3 | 0.3 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 |
| 78 | 0.2 | 0.2 | 0.2 | 0.3 | 0.4 | 0.3 | 0.4 | 0.3 | 0.3 | 0.4 | 0.4 | 0.4 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 |
| 81 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.4 | 0.3 | 0.4 | 0.3 | 0.2 | 0.2 | 0.1 | 0.3 | 0.2 | 0.3 |
| 84 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.4 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.0 | 0.2 | 0.2 | 0.2 |
| 87 | 0.2 | 0.1 | 0.2 | 0.2 | 0.3 | 0.3 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 |
| 90 | 0.2 | 0.3 | 0.2 | 0.2 | 0.2 | 0.3 | 0.0 | 0.2 | 0.2 | 0.0 | 0.0 | 0.3 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.3 | 0.2 |
| 93 | 0.3 | 0.3 | 0.0 | 0.3 | 0.5 | 0.5 | 0.4 | 0.4 | 0.4 | 0.5 | 0.5 | 0.4 | 0.3 | 0.4 | 0.4 | 0.3 | 0.4 | 0.4 | 0.5 |
| 96 | 0.4 | 0.3 | 0.4 | 0.3 | 0.4 | 0.4 | 0.4 | 0.5 | 0.6 | 0.5 | 0.4 | 0.0 | 0.4 | 0.5 | 0.4 | 0.3 | 0.4 | 0.3 | 0.5 |
| 99 | 0.3 | 0.0 | 0.4 | 0.3 | 0.3 | 0.4 | 0.4 | 0.3 | 0.4 | 0.5 | 0.4 | 0.3 | 0.3 | 0.4 | 0.3 | 0.3 | 0.5 | 0.3 | 0.5 |
| 102 | 0.4 | 0.3 | 0.3 | 0.3 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.3 | 0.4 | 0.4 | 0.4 | 0.3 | 0.4 | 1.1 |
| 105 | 0.4 | 0.0 | 0.0 | 0.3 | 0.4 | 0.5 | 0.4 | 0.5 | 0.4 | 0.4 | 0.3 | 0.4 | 0.3 | 0.4 | 0.5 | 0.4 | 0.3 | 0.4 | 1.3 |
| 108 | 0.5 | 0.0 | 0.3 | 0.3 | 0.4 | 0.5 | 0.5 | 0.5 | 0.6 | 0.5 | 0.4 | 0.3 | 0.4 | 0.5 | 0.3 | 0.4 | 0.3 | 0.5 | 1.2 |
| 111 | 0.5 | 0.4 | 0.0 | 0.4 | 0.3 | 0.5 | 0.6 | 0.5 | 0.5 | 0.4 | 0.4 | 0.5 | 0.6 | 0.5 | 0.3 | 0.3 | 0.4 | 0.5 | 1.9 |
| 114 | 1.4 | 0.4 | 0.4 | 0.0 | 0.4 | 0.4 | 0.4 | 0.5 | 0.4 | 0.4 | 0.5 | 0.4 | 0.3 | 0.0 | 0.3 | 0.5 | 0.6 | 0.9 | 5.1 |
| 117 | 4.5 | 1.2 | 0.9 | 0.3 | 0.3 | 0.3 | 0.5 | 0.6 | 0.5 | 0.5 | 0.4 | 0.4 | 0.0 | 0.4 | 0.3 | 0.9 | 1.0 | 2.2 | 12.0 |
| 120 | 8.9 | 3.1 | 1.9 | 0.4 | 0.3 | 0.3 | 0.3 | 0.4 | 0.4 | 0.5 | 0.3 | 0.4 | 0.3 | 0.0 | 0.6 | 1.5 | 1.8 | 6.4 | 19.5 |
| 123 | 14.1 | 6.7 | 3.7 | 0.9 | 0.3 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 | 0.7 | 2.4 | 4.1 | 10.5 | 27.6 |
| 126 | 18.8 | 9.8 | 5.9 | 2.1 | 0.5 | 0.3 | 0.2 | 0.4 | 0.0 | 0.3 | 0.3 | 0.3 | 0.3 | 0.5 | 1.8 | 4.1 | 5.7 | 12.7 | 34.7 |
| 129 | 21.5 | 12.0 | 8.0 | 4.1 | 1.2 | 0.4 | 0.4 | 0.3 | 0.2 | 0.3 | 0.2 | 0.3 | 0.4 | 1.0 | 3.7 | 5.8 | 6.8 | 16.2 | 38.8 |
| 132 | 23.2 | 14.8 | 10.2 | 6.6 | 3.0 | 0.8 | 0.4 | 0.4 | 0.4 | 0.3 | 0.3 | 0.4 | 0.9 | 2.5 | 5.6 | 7.6 | 6.6 | 18.4 | 39.6 |
| 135 | 24.4 | 17.2 | 12.4 | 9.1 | 5.2 | 2.5 | 1.1 | 0.5 | 0.3 | 0.4 | 0.4 | 0.8 | 2.4 | 4.8 | 8.1 | 9.8 | 7.7 | 21.8 | 40.4 |
| 138 | 26.4 | 18.4 | 15.6 | 12.1 | 8.7 | 5.4 | 2.8 | 1.4 | 1.2 | 1.1 | 1.5 | 2.5 | 4.5 | 7.7 | 12.0 | 10.5 | 10.4 | 23.1 | 39.2 |
| 141 | 26.7 | 20.4 | 17.4 | 15.4 | 12.5 | 8.9 | 6.2 | 3.8 | 3.1 | 3.0 | 3.6 | 5.4 | 8.3 | 10.9 | 14.2 | 11.8 | 13.1 | 23.6 | 39.3 |
| 144 | 27.7 | 21.6 | 17.7 | 19.2 | 16.3 | 13.0 | 9.5 | 6.7 | 6.3 | 5.8 | 6.7 | 8.3 | 11.9 | 14.7 | 16.9 | 15.4 | 13.6 | 24.2 | 38.6 |
| 147 | 28.2 | 22.8 | 19.1 | 20.4 | 20.0 | 16.2 | 13.2 | 11.0 | 9.8 | 9.6 | 10.4 | 12.6 | 14.9 | 17.6 | 17.8 | 14.5 | 14.0 | 25.5 | 37.0 |
| 150 | 29.6 | 23.2 | 18.7 | 21.7 | 22.2 | 19.7 | 16.8 | 15.0 | 13.9 | 13.6 | 14.8 | 15.9 | 17.9 | 19.6 | 17.7 | 16.0 | 15.2 | 24.8 | 35.7 |
| 153 | 29.6 | 23.7 | 20.6 | 21.9 | 22.7 | 24.4 | 21.5 | 18.9 | 18.6 | 18.6 | 18.8 | 19.4 | 20.2 | 21.7 | 19.9 | 14.8 | 15.3 | 25.9 | 37.0 |
| 156 | 29.1 | 23.5 | 21.5 | 21.7 | 22.6 | 25.1 | 24.2 | 23.6 | 22.6 | 22.2 | 22.6 | 22.5 | 22.8 | 22.5 | 18.3 | 14.1 | 16.8 | 25.8 | 34.5 |
| 159 | 29.5 | 22.2 | 22.6 | 20.5 | 21.7 | 22.5 | 23.7 | 23.8 | 24.7 | 24.0 | 25.1 | 24.3 | 23.7 | 23.5 | 16.6 | 12.1 | 17.5 | 25.9 | 33.1 |
| 162 | 29.1 | 21.8 | 22.3 | 19.9 | 21.8 | 21.4 | 23.2 | 23.5 | 24.7 | 24.3 | 24.4 | 25.4 | 23.2 | 19.6 | 14.5 | 14.0 | 17.1 | 23.5 | 33.1 |
| 165 | 28.8 | 21.8 | 20.0 | 19.4 | 20.7 | 22.0 | 22.7 | 24.3 | 23.2 | 23.8 | 23.5 | 22.4 | 20.0 | 16.4 | 14.3 | 14.7 | 18.0 | 22.5 | 32.0 |
| 168 | 30.2 | 22.7 | 19.5 | 20.2 | 19.0 | 20.0 | 21.8 | 22.4 | 22.9 | 22.4 | 20.8 | 19.2 | 17.7 | 15.2 | 13.8 | 13.6 | 19.8 | 25.2 | 33.3 |
| 171 | 31.5 | 26.0 | 21.2 | 19.0 | 18.5 | 18.1 | 18.6 | 19.0 | 19.3 | 19.2 | 18.1 | 16.8 | 16.1 | 15.3 | 15.2 | 17.5 | 22.7 | 27.7 | 35.4 |
| 174 | 32.8 | 28.9 | 25.2 | 21.5 | 19.4 | 19.0 | 19.2 | 18.6 | 17.5 | 16.8 | 16.7 | 16.7 | 16.5 | 17.3 | 18.9 | 21.0 | 24.4 | 29.4 | 35.7 |
| 177 | 35.3 | 33.4 | 31.4 | 29.4 | 27.1 | 24.7 | 23.2 | 22.2 | 21.4 | 21.4 | 21.6 | 22.3 | 23.0 | 23.8 | 25.2 | 26.8 | 29.3 | 32.2 | 35.4 |
| 180 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 |

Table 2a. Luminous intensity values, azimuth 0-180°

|  | 190 | 200 | 210 | 220 | 230 | 240 | 250 | 260 | 270 | 280 | 290 | 300 | 310 | 320 | 330 | 340 | 350 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 |
| 3 | 0.3 | 0.3 | 0.3 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 | 0.2 | 0.2 |
| 6 | 0.2 | 0.3 | 0.5 | 0.6 | 0.6 | 0.5 | 0.5 | 0.5 | 0.6 | 0.7 | 0.7 | 0.7 | 0.7 | 0.6 | 0.5 | 0.4 | 0.3 |
| 9 | 0.2 | 0.3 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.5 | 0.5 | 0.5 | 0.6 | 0.7 | 0.8 | 0.8 | 0.8 | 0.6 | 0.3 |
| 12 | 0.2 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.4 | 0.3 | 0.3 | 0.4 | 0.4 | 0.5 | 0.6 | 0.7 | 0.7 | 0.5 | 0.3 |
| 15 | 0.2 | 0.2 | 0.3 | 0.2 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.4 | 0.5 | 0.5 | 0.6 | 0.4 | 0.3 |
| 18 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.4 | 0.3 | 0.5 | 0.3 | 0.3 |
| 21 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.4 | 0.3 | 0.4 | 0.3 | 0.2 |
| 24 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 | 0.3 | 0.4 | 0.3 | 0.3 | 0.3 | 0.3 | 0.2 | 0.3 |
| 27 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 | 0.4 | 0.3 | 0.4 | 0.4 | 0.3 | 0.4 | 0.3 | 0.3 | 0.2 | 0.3 |
| 30 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 | 0.4 | 0.4 | 0.3 | 0.4 | 0.4 | 0.3 | 0.4 | 0.3 | 0.3 | 0.3 | 0.2 |
| 33 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 | 0.4 | 0.3 | 0.3 | 0.3 | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 | 0.2 |
| 36 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.3 | 0.2 | 0.3 | 0.4 | 0.3 | 0.3 | 0.3 | 0.4 | 0.3 | 0.3 | 0.3 | 0.2 |
| 39 | 0.3 | 0.3 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 | 0.4 | 0.5 | 0.5 | 0.3 | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 | 0.3 |
| 42 | 0.4 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.5 | 0.6 | 0.8 | 0.7 | 0.5 | 0.3 | 0.3 | 0.4 | 0.3 | 0.2 | 0.3 |
| 45 | 0.5 | 0.3 | 0.3 | 0.3 | 0.4 | 0.7 | 1.0 | 1.6 | 1.6 | 1.4 | 1.1 | 0.5 | 0.4 | 0.2 | 0.4 | 0.3 | 0.3 |
| 48 | 0.5 | 0.4 | 0.3 | 0.4 | 0.6 | 1.5 | 2.0 | 3.0 | 3.2 | 2.8 | 2.2 | 1.4 | 0.6 | 0.3 | 0.4 | 0.5 | 0.3 |
| 51 | 0.5 | 0.4 | 0.3 | 0.7 | 1.2 | 2.4 | 3.9 | 4.5 | 5.0 | 4.5 | 3.8 | 2.5 | 1.0 | 0.4 | 0.4 | 0.5 | 0.2 |
| 54 | 0.4 | 0.5 | 0.4 | 1.1 | 2.1 | 3.9 | 5.8 | 6.6 | 6.8 | 6.7 | 5.4 | 4.3 | 2.5 | 0.7 | 0.4 | 0.5 | 0.2 |
| 57 | 0.4 | 0.4 | 0.5 | 1.7 | 3.3 | 5.8 | 8.0 | 9.2 | 9.3 | 8.6 | 7.6 | 5.7 | 3.0 | 1.1 | 0.4 | 0.3 | 0.3 |
| 60 | 0.4 | 0.4 | 0.8 | 2.7 | 5.2 | 8.0 | 10.3 | 12.3 | 12.6 | 12.0 | 9.8 | 7.6 | 5.5 | 2.4 | 0.4 | 0.3 | 0.3 |
| 63 | 0.4 | 0.4 | 1.2 | 3.7 | 7.0 | 9.8 | 13.3 | 15.4 | 15.5 | 15.5 | 12.2 | 9.1 | 6.5 | 3.1 | 0.8 | 0.3 | 0.3 |
| 66 | 0.4 | 0.5 | 1.6 | 5.2 | 9.2 | 12.9 | 15.8 | 19.4 | 20.4 | 18.8 | 16.5 | 12.9 | 8.4 | 4.1 | 1.6 | 0.3 | 0.3 |
| 69 | 0.5 | 0.7 | 2.6 | 7.0 | 12.0 | 16.7 | 20.5 | 23.0 | 23.4 | 22.7 | 20.4 | 16.9 | 11.2 | 6.1 | 2.6 | 0.4 | 0.3 |
| 72 | 0.4 | 0.9 | 3.5 | 9.0 | 15.5 | 20.5 | 23.5 | 26.1 | 27.7 | 26.6 | 22.9 | 18.6 | 14.5 | 8.2 | 3.6 | 0.3 | 0.3 |
| 75 | 0.4 | 1.4 | 5.2 | 11.7 | 18.2 | 24.2 | 28.8 | 31.1 | 31.6 | 29.8 | 27.7 | 23.1 | 17.0 | 10.2 | 4.2 | 0.8 | 0.2 |
| 78 | 0.3 | 2.1 | 6.7 | 14.5 | 22.2 | 29.0 | 32.7 | 34.7 | 34.8 | 34.6 | 31.5 | 27.0 | 20.2 | 12.0 | 6.0 | 1.4 | 0.2 |
| 81 | 0.4 | 3.2 | 9.2 | 17.3 | 25.9 | 33.7 | 38.3 | 41.0 | 41.2 | 39.9 | 35.3 | 29.7 | 23.5 | 16.4 | 8.7 | 2.8 | 0.1 |
| 84 | 0.6 | 5.1 | 12.4 | 21.1 | 31.0 | 38.5 | 43.6 | 44.7 | 44.4 | 43.9 | 39.5 | 33.4 | 26.9 | 18.8 | 10.9 | 4.0 | 0.3 |
| 87 | 0.7 | 6.7 | 14.8 | 24.2 | 34.7 | 42.9 | 49.2 | 51.7 | 52.6 | 50.3 | 48.0 | 41.1 | 31.2 | 21.1 | 11.8 | 4.4 | 0.5 |
| 90 | 0.8 | 7.3 | 15.9 | 26.7 | 38.0 | 45.1 | 51.8 | 54.3 | 55.8 | 52.8 | 48.0 | 41.7 | 34.4 | 24.0 | 13.0 | 5.8 | 0.4 |
| 93 | 0.9 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.3 | 0.0 | 0.3 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 96 | 1.4 | 1.4 | 0.8 | 0.5 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.3 | 0.0 | 0.0 | 0.3 | 0.3 | 0.3 | 0.4 | 0.0 |
| 99 | 0.7 | 1.0 | 1.4 | 0.9 | 0.5 | 0.4 | 0.5 | 0.3 | 0.0 | 0.6 | 0.3 | 0.9 | 1.1 | 0.7 | 0.6 | 0.5 | 0.4 |
| 102 | 8.0 | 12.5 | 19.1 | 21.5 | 25.2 | 27.7 | 29.2 | 29.0 | 32.2 | 31.5 | 28.1 | 30.9 | 27.0 | 22.8 | 17.0 | 9.2 | 3.1 |
| 105 | 23.0 | 34.3 | 46.6 | 61.4 | 71.0 | 77.7 | 90.8 | 88.4 | 92.8 | 89.8 | 86.4 | 79.8 | 66.4 | 53.1 | 37.3 | 21.3 | 8.4 |
| 108 | 20.6 | 33.8 | 52.0 | 66.2 | 78.1 | 85.0 | 95.8 | 95.4 | 106.6 | 100.1 | 92.5 | 83.3 | 69.9 | 60.2 | 38.7 | 19.0 | 6.6 |
| 111 | 11.7 | 17.4 | 37.4 | 71.3 | 84.0 | 93.7 | 99.6 | 104.6 | 113.8 | 105.9 | 96.7 | 88.4 | 76.3 | 56.3 | 23.2 | 7.8 | 4.3 |
| 114 | 12.2 | 10.8 | 9.1 | 42.4 | 71.3 | 97.9 | 107.9 | 107.8 | 116.9 | 109.8 | 101.0 | 88.3 | 66.6 | 29.2 | 7.5 | 6.1 | 10.0 |
| 117 | 19.2 | 11.9 | 2.4 | 8.1 | 29.4 | 71.5 | 93.2 | 103.3 | 108.1 | 105.4 | 87.9 | 67.4 | 30.2 | 7.4 | 13.4 | 15.6 | 17.2 |
| 120 | 28.8 | 25.3 | 12.4 | 2.1 | 4.2 | 23.9 | 42.5 | 57.3 | 63.6 | 62.4 | 37.2 | 20.3 | 3.2 | 12.6 | 26.2 | 28.9 | 27.3 |
| 123 | 36.9 | 41.9 | 31.3 | 6.7 | 4.7 | 7.3 | 7.9 | 11.3 | 16.3 | 13.9 | 4.9 | 2.6 | 4.4 | 18.8 | 38.9 | 43.4 | 36.3 |
| 126 | 47.8 | 55.8 | 55.3 | 23.0 | 8.9 | 5.5 | 6.0 | 6.1 | 4.0 | 3.4 | 2.5 | 6.1 | 16.2 | 35.2 | 50.1 | 56.0 | 44.1 |
| 129 | 53.7 | 61.3 | 68.8 | 53.7 | 19.5 | 16.2 | 6.2 | 6.0 | 6.0 | 6.4 | 4.6 | 15.5 | 42.0 | 54.6 | 63.7 | 61.4 | 47.4 |
| 132 | 56.2 | 65.2 | 75.2 | 77.9 | 55.9 | 32.3 | 15.3 | 12.1 | 20.5 | 15.1 | 19.4 | 37.8 | 67.7 | 67.3 | 70.7 | 65.2 | 50.2 |
| 135 | 56.4 | 70.0 | 78.5 | 85.1 | 86.8 | 68.8 | 42.6 | 38.9 | 34.1 | 44.5 | 49.3 | 69.6 | 84.2 | 78.9 | 74.7 | 65.2 | 51.1 |
| 138 | 57.9 | 70.3 | 80.4 | 87.9 | 94.0 | 97.1 | 83.8 | 80.6 | 72.4 | 85.8 | 80.5 | 89.0 | 92.9 | 88.2 | 80.0 | 68.6 | 49.0 |
| 141 | 54.2 | 67.2 | 81.6 | 85.5 | 92.6 | 105.1 | 101.4 | 105.7 | 98.1 | 100.9 | 101.2 | 95.7 | 96.9 | 91.0 | 82.0 | 69.5 | 48.7 |
| 144 | 55.1 | 65.4 | 79.5 | 89.0 | 94.9 | 102.9 | 106.2 | 109.0 | 107.3 | 105.1 | 106.1 | 100.3 | 96.4 | 92.4 | 86.3 | 67.8 | 45.2 |
| 147 | 52.8 | 64.9 | 74.4 | 85.4 | 95.5 | 98.0 | 107.3 | 110.1 | 111.2 | 105.8 | 107.5 | 103.5 | 100.4 | 94.5 | 85.4 | 65.3 | 43.3 |
| 150 | 54.6 | 63.7 | 74.4 | 84.2 | 92.6 | 99.5 | 109.7 | 109.6 | 111.2 | 109.3 | 106.3 | 104.3 | 100.1 | 94.9 | 84.2 | 62.4 | 42.5 |
| 153 | 52.0 | 65.3 | 76.0 | 83.4 | 89.0 | 103.3 | 108.4 | 112.1 | 110.8 | 109.6 | 107.5 | 105.4 | 101.2 | 94.0 | 84.1 | 58.2 | 41.5 |
| 156 | 50.2 | 67.5 | 73.5 | 81.4 | 92.3 | 103.9 | 108.4 | 111.9 | 111.4 | 110.2 | 109.1 | 104.9 | 103.1 | 93.7 | 78.2 | 56.4 | 39.8 |
| 159 | 48.0 | 64.3 | 78.6 | 80.9 | 90.0 | 102.5 | 108.5 | 110.2 | 109.8 | 108.6 | 107.0 | 105.0 | 100.0 | 88.6 | 71.8 | 54.2 | 38.0 |
| 162 | 44.5 | 60.5 | 75.0 | 82.5 | 88.3 | 98.2 | 105.1 | 108.0 | 108.9 | 106.9 | 105.6 | 102.9 | 92.3 | 83.8 | 65.9 | 50.9 | 36.6 |
| 165 | 44.2 | 58.0 | 72.7 | 80.9 | 85.5 | 95.2 | 102.6 | 105.5 | 104.8 | 103.3 | 99.9 | 94.2 | 83.0 | 75.1 | 60.3 | 48.8 | 34.9 |
| 168 | 43.8 | 52.2 | 63.2 | 74.8 | 82.6 | 85.8 | 89.6 | 91.0 | 92.1 | 91.6 | 86.7 | 79.1 | 72.1 | 62.6 | 54.3 | 46.4 | 35.7 |
| 171 | 41.1 | 47.8 | 55.4 | 62.4 | 68.2 | 74.9 | 78.8 | 78.7 | 78.5 | 75.5 | 72.1 | 68.4 | 60.6 | 54.2 | 50.3 | 43.4 | 35.5 |
| 174 | 41.2 | 45.3 | 49.1 | 51.9 | 54.8 | 57.7 | 60.1 | 61.0 | 61.5 | 60.4 | 57.5 | 54.8 | 52.6 | 50.0 | 46.8 | 41.9 | 37.1 |
| 177 | 38.5 | 41.2 | 43.4 | 44.9 | 46.3 | 47.0 | 47.3 | 47.4 | 47.3 | 47.2 | 46.7 | 45.8 | 44.6 | 42.8 | 41.2 | 39.1 | 37.2 |
| 180 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 | 35.8 |

Table 2b. Luminous intensity values, azimuth 190-350°

Signature:

_________________________________

Print Name:

GH JOHN

_________________________________

Date:

30-01-2013

_________________________________

Partner / Director
Duly authorised to sign on behalf of:

Photometric and Optical Testing Services LLP